LOCATION OF WTP

Kotarpur,Near Ahmedabad Airport,Ghanshyam Nagar,Naroda,Ahmedabad,Gujurat

LAYOUT OF WTP

The beautiful part of entire plant is that it is run by entirely by gravity force thus saving lot of energy

CAPAPCITY OF WTP

Kotarpur Water Treatment Plant (WTP): Kotarpur WTP is the largest water treatment plant in Ahmedabad. The total capacity of existing plant is 850 Million Litres per Day (MLD) with the new plant having capacity of 200 MLD and the old plant having capacity of 650 MLD

Gujarat Chief Minister Vijay Rupani today dedicated Rs 62 crore water plant at Kotarpur near Ahmedabad airport. The new plant has 200 MLD capacity. It will save Rs 5.50 crore in power bill for Ahmedabad Municipal Corporation(AMC).

SOURCE FROM WTP

AMC has laid Rs 136 crore new gravity line upto Kotarpur from Narmada water source.

COMPENENTS OF WTP

ActivityA brief description about the entire plant was given by Mr. Nimesh Gajjar with the help of a water treatment plant model. It was followed by visit to

inlet bay,

Pump House,

Alum Dosing,

Clariflocculators,

Filtration Unit -filter bed, Filter house, Filter water pump House,

Disinfection Unit – Chlorine gas Dosing unit,

Sludge digestion unit- Sludge Handling Pump,

Clear water reservoirs & Pumps used for distribution system.

Let's start from beginning

- Raw water source ( River, lake, impounding reservoir, canal)

- Intake well

- Jackwell

- Raw water pumping system

- Raw water conveyance system to Water treatment plant

- Cascade areator

- Parshel flume

- Alum mixer

- Intake channels

- Carifier

- Chemical house

- Sand filters ( rapid gravity or pressure or both

- Filter bed washing system

- Back wash water recycling statem

- Pipe gallery

- Chlorine contact tank

- Chlorine dosing system

- Sludge removing system

- Sludge thinking system

- Sludge transfer pumps

- Sludge ponds

- Clear water reservoir

- Clear water umping system

- Flowmeter and valves

- Scada and instrumentation system

- Laboratory

LOCALITY WHERE IT SUPPLIES THE WATER

). Kotarpur plant supplies water to 60 lakh population of Ahmedabad which is spread in over 466 square km area

The city of Ahmedabad has 185 water distribution stations that are supplied water from Kotarpur, Jaspur and Rasta water treatment plants